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לוח גב מתקפל כתום DKR CE

Detailed Product Description:
This spine board with safe belts is made of PE material with no discharge contaminator, and firmness to wear. This plastic spine board provided by our company also can be used as a floatable device. The structure is allowed X-rays because of its completely translucent. It can be used with head immobilize at the same time. It is mainly used for hospitals, sports, ambulance and outdoors to carry patients and wounded person. 

Technical Features: 
1) Product size (L x W x H): 187 x 50 x 4cm
2) Folded Size (L x W x H): 94 x 50 x 8.5cm
3) Packing size (2pcs/carton): 96 x 52 x 10cm
4) N.W.: 14kg  G.W.: 16kg
5) Load bearing: less than 159kg
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